## Slide 1: Thomson Reuters Storage Quality of Service Policy and Procedures
6/1/2016

## Slide 2: QOS Policy in New Storage Subsystems
  What is Quality of Service (QOS)?
    These are policies set on the storage hardware that limit the amount of throughput an individual can do.
  Why are we applying QOS?
    Historically, the shared storage subsystems have been prone to the ‘bad neighbor’ problem where a single application, hosted on a system with multiple other applications, uses up all the storage resources. The result is poor performance for all the applications.
    QOS is a means to limit how many resources a single application can use of the shared resource. This protects the other applications from one noisy application.
  Where is this applied?
    This is applied to any storage hardware purchased after October 2015.
      All new volumes that are created get a QOS policy
      As storage hardware is tech refreshed and volumes are moved on to new hardware, the QOS policy is applied

## Slide 3: The QOS Policy Limits
The IO Rate
  What are the QOS limits?
    6000 IOPS per volume regardless of IO size or type or
    750 IOPS per TB allocated, whichever is greater.
  How was the 6000 IO limit determined?
    A typical filer in the environment can support on average 44,000 IOPS but depending on type and size of IO this can vary between 20,000 and 80,000. 6000 IOPS allows for significant throughput for a majority of applications but doesn’t not let a single application use more than 25% of the filer.

## Slide 4: Raising the IOPS Limit
In some cases, 6000 IOPS will not be enough for applications. In this case, the IO limit can be raised by purchasing additional space.
  For each 1 TB purchased above 8TB, an additional 750 IOPS will be added to the QOS limit
  How was the IO per TB ratio calculated?
    Each filer can support ~44,000 IOPS
    Each filer holds 57TB of usable capacity
    Equates to ~750 IOPS / TB
  How Many TB would I need to buy to get X IOPS Limit?
    X = Amount of IOPS Required
    X / 750 = Required TB’s
    E.x. For a 10,000 IOPS Limit
      10,000 / 750 = 13.3TB

## Slide 5: Shared Filer vs. Dedicated Filer Break Even Points
  Shared Filers
    May be grown until an entire head is utilized. After which, a dedicated system is more cost effective
  Dedicated Filers
    Two heads on each system for a total of 114TB usable and 88,000 IOPS
Chart: IOPS Limit vs Terabytes Allocated vs Cost
IOPS | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6750 | 7500 | 8250 | 9000 | 9750 | 10500 | 11250 | 12000 | 12750 | 13500 | 14250 | 15000 | 15750 | 16500 | 17250 | 18000 | 18750 | 19500 | 20250 | 21000 | 21750 | 22500 | 23250 | 24000 | 24750 | 25500 | 26250 | 27000 | 27750 | 28500 | 29250 | 30000 | 30750 | 31500 | 32250 | 33000 | 33750 | 34500 | 35250 | 36000 | 36750 | 37500 | 38250 | 39000 | 39750 | 40500 | 41250 | 42000 | 42750
Cost | 0 | 6740 | 13480 | 20220 | 26960 | 33700 | 40440 | 47180 | 53920 | 60660 | 67400 | 74140 | 80880 | 87620 | 94360 | 101100 | 107840 | 114580 | 121320 | 128060 | 134800 | 141540 | 148280 | 155020 | 161760 | 168500 | 175240 | 181980 | 188720 | 195460 | 202200 | 208940 | 215680 | 222420 | 229160 | 235900 | 242640 | 249380 | 256120 | 262860 | 269600 | 276340 | 283080 | 289820 | 296560 | 303300 | 310040 | 316780 | 323520 | 330260 | 337000 | 343740 | 350480 | 357220 | 363960 | 370700 | 377440 | 384180